## Slide 1: “The Vortex Catheter”
Miranda Ajulufoh
Advisor: Dr. Savastano
Team: Dr. Savastano, Dr. Pandey, Dr. Shih, Yang Liu, Yihao Zheng, and Jeff Plott

## Slide 2
Acute Ischemic Stroke
Affects more than 795,000 people in U.S. a year
  87% of all strokes are ischemic strokes
5th leading cause of death in U.S
Significant cause of long-term disability
Costs the nation $34 billion annually

## Slide 3
Evolution of Endovascular Therapy

## Slide 4
Current Standard of Care

## Slide 5
Current Standard of Care

## Slide 6: Clinical Challenges of Current Devices
Low recanalization rates, delayed time to reperfusion, increased cost, poor patient outcomes
Pertinent Challenges
  Tortuous cerebral vasculature
  Difficulties with large/stiff clots
  Multiple passes
  Procedural Complications: catheters jamming, vessel damage, distal clot embolization

## Slide 7
Current Devices In Action
Notes: Aspiration (55: 40)
Aspiration and stent (1:18:82)

## Slide 8: The Proposed Solution: “The Vortex Catheter”
An aspirating catheter with a rotating wire shaft that fragments the clot as it is being sucked into the catheter

## Slide 9: Scientific Research: Clot Analogs

## Slide 10
“The Vortex Catheter” In Action
Notes: Clot Buster (2:12:56)
3:18:73

## Slide 11
Value Proposition
Removes large/stiff clots
One catheter solution
One pass complete recanalization
Navigate through tortuous anatomy
Minimal distal embolization
Minimal vessel damage
Minimal clogging
Simple to use

## Slide 12
Customer Discovery
Stakeholder | Interview Summary
Neurosurgeon | Patients with more tortuous anatomy or tandem lesions are more difficult to revascularize Often requires 1-3 passes using preferred procedure/device Procedure can take longer to complete with tandem lesions There is always a risk of distal embolization Even with good revascularization, there is still a disconnect between level of revascularization and long-term outcome of patients (via Rankin score) Desire a quick and easy to use device b/c stroke is serious and needs to be treated acutely
Interventional Radiologists | 

## Slide 13
Stakeholders
Stakeholder | Value Proposition
Neurosurgeon | Can navigate through torturous anatomy to reach the clot Remove large/stiff clots Only one pass = easy to use = faster procedure time Reduction in distal embolization/vessel damage/clogging = improved patient outcome
Interventional Radiologists | 

## Slide 14: Market Size
Mechanical thrombectomy devices market value: $1040 million in 2018
  Expected to reach $1600 million by the end of 2025
  Growing at a CAGR of 5.6% during 2019-2025
Factors contributing to growing market
  Growing target population
  Increased demand for minimally invasive surgeries
  Favorable medical reimbursements
  Ongoing technological advancements

## Slide 15: Exit Strategy
Medtronic acquired Lazarus
  $100M
J&J acquired Neuravi
  $500M

## Slide 17: What is still unknown?
Standardized protocol for realistic in-vitro clots
Improved revascularization (TICI score) = improved long-term clinical outcome
Strategy expansion to DVT/PE

## Slide 18: The Team

## Slide 19: Questions